## Slide 1: एएलएस और बीएलएस एम्बुलेंस
एम्बुलेंस एएलएस में उपलब्ध आपातकालीन दवाएं/उपकरण
पाठ-02
)kjk
fu0@QkekZ0
ftrsanz flag ;kno

## Slide 2: प्रत्येक एनडीआरएफ इकाई के लिए एम्बुलेंस का प्राधिकरण
एडवांस लाइफ सपोर्ट एम्बुलेंस (टाइप-डी)-01 बेसिक लाइफ सपोर्ट एम्बुलेंस (टाइप-सी)-02 सामान्य एम्बुलेंस (टाइप-बी) -03 प्रत्येक एनडीआरएफ इकाई के लिए कुल 06 एम्बुलेंस अधिकृत

## Slide 3: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
1 | TRANSPORT VENTILATOR | 1 | 0 | 0
2 | SUCTION DEVICE (MANUAL) | 1 | 1 | 1
3 | FULLY AUTOMATIC B.P MONITER (ANEROID) | 1 | 1 | 1
4 | SILICON RESUSCITATOR COMBIBAG (RESUABLE) | 1 | 1 | 0
5 | VIDEO LARYNGOSCOPE WITH DISPOSABLE BLADES | 1 | 0 | 0
6 | RIGID FRACTURE SPLINTS | 1 | 1 | 0
7 | AUTOMATED EXTERNAL DEFIBRILLATOR | 1 | 0 | 0
8 | FINGER TIP PULSE OXIMETER | 1 | 1 | 1
9 | CPR MASK (100 / BOX) | 1 | 1 | 1
10 | UNIVERSAL SCISSOR | 1 | 1 | 0
11 | DIAGNOSTICS PENLIGHT | 1 | 1 | 0

## Slide 4: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
12 | CUFFED MASK SIZE 1,2,3 (2 EACH) | 6 | 0 | 0
13 | TONGUE DEPRESSOR (100/ BOX) | 1 | 1 | 0
14 | JAW SPREADER/MOUNDER | 1 | 1 | 0
15 | ISOTHERMAL SHEET ADULT | 1 | 1 | 0
16 | SCALPEL | 2 | 1 | 0
17 | HAND TOURNIQUET | 2 | 2 | 0
18 | OROPHARYNGEAL AIRWAYS IN 5 DIFFERENT SIZES THAT ARE COLOUR CODED (2 EACH) | 10 | 10 | 0
19 | NASOPHARYNGEAL AIRWAYS IN 3 DIFFERENT SIZES AND COLOUR CODED -(2 EACH) | 6 | 6 | 0
20 | THERMOMETER (IR ) | 1 | 1 | 1
21 | ARTERY FORCEPS 6" AND TOOTHED FORCEPS 6" (1 EACH) | 1 | 1 | 0
22 | TYPE D OXYGEN CYLINDER WITH COMPLETE ACCESSORIES FOR STATIONARY OXYGEN | 2 | 2 | 2

## Slide 5: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
23 | ET TUBES WITH CYLINDERICAL CUFF – 6 DIFFERENT SIZES 4, 5, 6,7,8,8.5 (2 EACH) | 12 | 0 | 0
24 | FOAM BASED HAEMOSTAT DRESSING (CALCIUM CHLORIDE GLUCOSAMINE AND TRANEXAMIC ACID) (5X5, 7X7 SIZES) (2 EACH) | 4 | 4 | 0
25 | NEEDLE HOLDER | 1 | 1 | 0
26 | SILK SUTURE 2-0,3-0,4-0 (05 EACH) | 15 | 15 | 0
27 | HAND SANITIZER (ETHYL ALCOHOL WITH CHLORHEXIDINE ) | 1 | 1 | 1
28 | ISOPROPYL ALCOHOL SWABS (100/BOX) | 1 | 1 | 0
29 | CRAPE BANDAGE 4” 100% COTTON | 2 | 2 | 1
30 | LATEX FREE ELASTIC ADHESIVE BANDAGE 10CM | 1 | 1 | 1
31 | SPONGE BASED ANTIMICROBIAL BARRIER DRESSING FOR BURN (10CMX 10CM, 20CM X20CM) (4 EACH) | 8 | 8 | 0
32 | STERILE DISPOSABLE DRESSING PACK (FORCEPS–1,STERILESHEET-1,COTTON BALLS- 2,GAUZE SWAB(3”X3”X8PLY) -3 ABSORBENT DRESSING PAD (3”X7.5”) 1, EXAMINATIONGLOVES-1PAIR, HANDWIPETISSUE-1,TRAY WITH GALLIPOTS-1) | 4 | 4 | 0
33 | SCISSOR SHARP | 1 | 1 | 1

## Slide 6: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
34 | NON-STERILE GLOVES FOR SINGLE USE (PACK OF 100) | 1 | 1 | 1
35 | NON-WOVEN COHESIVE COMPRESSION BANDAGE (10CMX4.5M,15CMX4.5M) (2 EACH) | 4 | 4 | 0
36 | IV CANNUALIZATION DRESSING KIT (TOURNIQUET, STERILE SWAB, CHLORHEXIDINE GLUCONATE WIPE, IV CANNULA DRESSING WITH TRANSPARENT WINDOW) | 4 | 4 | 0
37 | COMBINED DRESSING PAD (STERILE) WITH OPEN EDGES (10X10CM, 10X20 CM) (5 EACH) | 10 | 10 | 0
38 | WIDE AREA FIXATION ROLL (10CMX10M,15CMX10M) (1 EACH) | 2 | 2 | 0
39 | ADHESIVE EYE PAD (STERILE) (50/BOX) | 1 | 1 | 0
40 | ROLLER BANDAGE 100% COTTON WITH COHESIVE EFFECT (5CMX3.5M,10CMX3.5M) (12/PACK) | 2 | 2 | 0
41 | HYPOALLERGENIC & LATEX FREE WATER RESISTANCE SILK SURGICAL TAPE 2” | 2 | 2 | 0
42 | EMERGENCY COMPRESSION BANDAGE (10CMX5M) | 2 | 2 | 0
43 | TRANSPARENT FILM DRESSING WITH NON ADHERENT PAD (5X7.5CM,10X25CM) (5 EACH) | 10 | 10 | 0
44 | INFUSION SET | 5 | 5 | 0

## Slide 7: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
45 | SURGICAL BLADE | 5 | 5 | 0
46 | IV CATHETERS SIZE: 24, 22, 20, 18 &16 MM (5 EACH) | 15 | 15 | 0
47 | UROBAG | 2 | 2 | 0
48 | FOLEY CATHETER (8,10,12,14,16) (2 EACH) | 10 | 10 | 0
49 | LIGNOCAINE JELLY TUBE | 1 | 1 | 0
50 | REUSABLE ADULT AND PAEDIATRIC MAGILL; FORCEPS | 1 | 1 | 0
51 | DISPOSABLE SYRINGES : 2ML,5ML (10 EACH) | 20 | 20 | 0
52 | DISPOSABLE SYRINGES :10ML | 2 | 2 | 0
53 | DISPOSABLE SURGICAL GLOVES STERILE SIZE 6.5, 7.0,7.5 (5 EACH) | 15 | 15 | 0
54 | FRAGMENTABLE NASAL PACK (8X2CM & 4X2CM) (2 EACH) | 4 | 4 | 0
55 | GAMJEE ROLL (6"X3M) | 5 | 5 | 0

## Slide 8: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
56 | PARAFFIN GAUGE DRESSING (4"X4") BOX OF 20 PIECES | 1 | 1 | 0
57 | STERILE GAUZE SWAB (100/BOX) | 1 | 1 | 0
58 | STETHOSCOPE | 1 | 1 | 1
59 | GLUCOMETER WITH STRIPS | 1 | 1 | 0
60 | SYRINGE 50/100ML (2 EACH) | 4 | 4 | 0
61 | SPLINT CUTTINE SCISSOR | 1 | 1 | 0
62 | SCOOP STRETCHER | 1 | 1 | 0
63 | PORTABLE OXYGEN CYLINDER LIGHT WEIGHT | 1 | 1 | 1
64 | NEBULIZER | 1 | 1 | 0
65 | MULTIPARA MONITOR WITH ECG ELECTRODS | 1 | 1 | 0
66 | INFUSION PUMP | 1 | 0 | 0

## Slide 9: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
67 | LARYNGEAL MASK AIRWAYS 1,1.5,2,2.5,3,4&5 (1 EACH) | 14 | 0 | 0
68 | EXTENSION LINE | 2 | 0 | 0
69 | ADJUSTABLE CERVICAL COLLAR WITH MRI COMPATABILITY | 2 | 2 | 0
70 | MAIN STRETCHER / UNDERCARRIAGE | 1 | 1 | 1
71 | PICK UP STRETCHER | 1 | 1 | 0
72 | EXTENDED UPPER SPINAL IMMOBILIZATION EXTRICATION DEVICES OR SHORT SPINAL BOARD (ONE OF THESE) | 1 | 1 | 0
73 | ELECTRIC PORTABLE SUCTION ASPIRATOR WITH AIR FLOW OF AT LEAST 30 L/MIN | 1 | 1 | 0
74 | KIDNEY BOWL | 1 | 1 | 0
75 | VOMITING BAG | 1 | 1 | 0
76 | NON-GLASS URINE BOTTLE | 1 | 1 | 0
77 | SHARPS CONTAINER | 1 | 1 | 0

## Slide 10: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
78 | STERILE SURGICAL GLOVES, PAIRS | 5 | 5 | 0
79 | EMERGENCY DELIVERY KIT | 1 | 1 | 0
80 | CLINICAL WASTE BAG | 1 | 1 | 0
81 | NON-WOVEN STRETCHER SHEET | 2 | 2 | 0
82 | BASIC PROTECTIVE CLOTHING INCLUDING HIGH VISIBILITY REFLECTIVE JACKET OR TABARD | 1 | 1 | 2
83 | SAFETY / DEBRIS GLOVES, PAIR | 1 | 1 | 1
84 | SAFETY SHOES, PAIRS | 1 | 1 | 0
85 | SAFETY HELMET | 1 | 1 | 0
86 | PERSONAL PROTECTION EQUIPMENT AGAINST INFECTION | 1 | 1 | 0
87 | CLEANING AND DISINFECTION MATERIAL | 1 | 1 | 1
88 | SEAT BELT CUTTER | 1 | 1 | 1

## Slide 11: एएलएस/बीएलएस/सामान्य एम्बुलेंस में उपलब्ध दवाएं/उपकरण
S.No | Name of Equipment | ALS-1 (D TYPE) | BLS-2 (C TYPE) | NORMAL-3 (B TYPE)
89 | WARNING TRIANGLE LIGHTS | 2 | 2 | 2
90 | SPOTLIGHT | 1 | 1 | 1
91 | FIRE EXTINGUISHER, ABC TYPE (MINIMUM 2 KG CAPACITY COMPLYING WITH IS:13849 OR IS:2171) | 2 | 2 | 1