## Slide 1: ECG Machine & Terminology
LESSON -5
By
AMANDEEP KAUR
ASI/ANM

## Slide 2: Learning Objectives
By the end of this module, you will be able to:
• Identify the main parts of an ECG machine
• Understand different types of ECG machines
• Define basic ECG terminology
• Recognize standard lead configurations and paper settings
Notes: Introduce the equipment and vocabulary of ECG recording.

## Slide 3: Introduction
An ECG machine records the electrical activity of the heart using electrodes placed on the body.
Notes: Provide a basic overview of ECG purpose and equipment.

## Slide 4: Basic Components of ECG Machine
• Power supply and control panel
• Electrodes and lead wires
• Amplifier and filter system
• Display screen or printout system
Notes: Introduce students to parts of an ECG machine.

## Slide 5: Types of ECG Machines
• Single-channel ECG
• Multi-channel ECG
• Portable or Holter monitors
• Stress test ECG systems
Notes: Discuss their uses in clinical settings.

## Slide 6: Single-channel ECG Machine

## Slide 7: Multi-channel ECG Machine

## Slide 8: Portable or Holter monitors

## Slide 9: Stress test ECG systems

## Slide 10: Electrodes and Lead Wires
• Electrodes detect electrical signals from the skin
• Conductive gel improves signal quality
• Leads connect electrodes to machine
Notes: Explain placement and function of electrodes.

## Slide 11: Leads and Lead Systems
• Standard 12-lead ECG: 3 limb leads, 3 augmented leads, 6 precordial leads
• Lead I, II, III form Einthoven’s triangle
Notes: Clarify lead arrangement.

## Slide 13: Einthoven’s Triangle
• Formed by leads I, II, III
• Demonstrates the relationship of limb leads
Notes: Explain its role in understanding lead vectors.

## Slide 15
Patient Positioning for 12-Lead ECG Placement

## Slide 16
COLOR CODING STANDARDS FOR THE 12-LEAD ECG
Currently, there are two color coding standards for 12-lead ECG:
IEC (International Electrotechnical Commission) system
AHA (American Heart Association) system

## Slide 17: Augmented and Precordial Leads
• Augmented: aVR, aVL, aVF
• Precordial: V1–V6
• Together provide full cardiac electrical view
Notes: Connect to spatial orientation of leads.

## Slide 18: Paper Speed and Calibration
• Standard paper speed: 25 mm/sec
• Voltage calibration: 1 mV = 10 mm
Notes: Explain importance for accurate interpretation.

## Slide 19: Filters and Artifacts
• Filters remove muscle or electrical noise
• Artifacts may result from movement or poor contact
Notes: Teach importance of clean signal acquisition.

## Slide 20: Common ECG Terminology
• Depolarization: electrical activation
• Repolarization: electrical recovery
• Baseline: isoelectric line
• Complex, interval, and segment definitions
Notes: Introduce vocabulary used in ECG interpretation.

## Slide 21
AA: Antiarrhythmic
AF: Atrial fibrillation
ATP: Ant tachycardia pacing
AVID: Antiarrhythmics Versus Implantable Defibrillators study
CABG: Coronary artery bypass graft
CAD: Coronary artery disease
CASH: Cardiac Arrest Study Hamburg
CHD: Coronary heart disease
COMMON ABBREVIATIONS

## Slide 22
CHF: Congestive heart failure
DFT: Defibrillation threshold
EF: Ejection fraction
EPS: Electrophysiologic Study
HCM: Hypertrophic cardiomyopathy
ICD: Implantable cardioverter defibrillator
LOS: Length of stay
LQTS: Long Q-T syndrome
COMMON ABBREVIATIONS

## Slide 23: Lead Axis and Polarity
• Positive and negative electrodes create lead axis
• Wave deflection direction depends on impulse travel
Notes: Describe how direction affects ECG tracing.

## Slide 24: Recording a Standard ECG
Ensure calibration and paper speed are correct
Attach leads properly
Instruct patient to remain still
Notes: Outline basic procedure for recording ECG.

## Slide 25: Digital ECG Systems
• Modern ECGs store data electronically
• Software assists in rhythm analysis
• Enables easy sharing via EHR systems
Notes: Highlight technological advancements.

## Slide 26: Troubleshooting ECG Machine
• Check electrode placement and contact
• Ensure proper grounding
• Verify paper and ink supply
Notes: Discuss maintenance and troubleshooting steps.

## Slide 27: Summary
• ECG machines detect and record heart's electrical signals
• Understanding machine parts, lead systems, and terminology ensures accurate results
Notes: Wrap up and prepare for module on patient preparation and exam setup.

## Slide 28
ANY QUESTION
?

## Slide 29
THANKS