## Slide 1
-
LESSON 8
Oxygen Therapy
MEDICAL FIRST RESPONDER
CAPF | MFR | INDIA
Presented by:- Pavan Dev Gaur, 2IC

## Slide 2
Upon completing this lesson, you will be able to:
OBJECTIVES
  Name five situations in which
  the application of oxygen is indicated.
  Describe an oropharyngeal airway, a CPR mask, a bag valve mask and demonstrate their uses.
  List four key pieces of equipment in
  an oxygen delivery system.
1
2
3

## Slide 3
Human can survive without food for 1 to 2 weeks, without water 1 to 2 days, but can not survive without oxygen even for a few hours. Brain cell starts dying after 8 to 10 min.
PPT 8 -
IMPORTANCE

## Slide 4
Heart failure/heart attack
Respiratory deficiency
Bleeding
Complications of childbirth
Poisoning
PPT 8 -
Oxygen Therapy

## Slide 5
Hazards Associated with Oxygen
Fire
Explosion
(oil, grease)
1
Valve damage
2
3

## Slide 6
Cylinder Types

## Slide 7
Reduce the pressure to 40-70 psi before administering oxygen. The pressure in a full cylinder is 2,000-2,200 psi.
Use a flow meter and pressure regulator.
PPT 8 -
Precautions When Giving Oxygen

## Slide 8
Select proper size.
-Open the patient’s mouth.
-Insert upside down.
-Advance adjunct gently.
-Turn 180 degree.
-Advance until flanges rest
On teeth, then secure it with tape.
PPT 8 -
OROPHARYNGEAL AIRWAY

## Slide 9
PPT 8 -
PROCEDURE FOR INSERTING AIRWAY

## Slide 10
PPT 8 -
CPR/POCKET MASK
The pocket face mask is designed to aid the rescuer when providing ventilation during CPR. It is made of soft
plastic with or without
oxygen inlet.
-Its use, avoids direct
contact with the patient’s
Mouth and decreases the
chances of contamination.

## Slide 11
PPT 8 -
BAG VALVE MASK
Type of Manual resuscitator.
BVM is a hand held device you squeeze to ventilate a patient.
It comes in adult, child, infant sizes.

## Slide 12
PPT 8 -
NASAL CANNULA
It has two stems for patient’s nostrils.
Mostly used in Hospital set up.
Most patient tolerates it well.
Used to administer low concentration of O2
Cause nasal mucus membrane to dry at higher flow rates.
Appropriate for patients who cannot tolerate a mask
Flow Rate 1-6 lpm (24-44% concentration of O2)

## Slide 13
PPT 8 -
SIMPLE MASK
SFM can deliver higher flow rates than Nasal cannula (6-10 lpm) of 40-60% oxygen.
Both SFM ans Nasal Cannula are described as low flow delivery system.

## Slide 14
PPT 8 -
NON-REBREATHER MASK
Flow rate 12-15 lpm
Concentration 80-90% of O2.
It contains enough O2, so it does not deflate by more than 1/3rd when patient inhales.

## Slide 15
PPT 8 -
MECHANICAL SUCTION
Maintain airway at all time-keep free of blood, vomit, secretions etc.

## Slide 16
Now you are able to:
Review
  Name five situations in which
  the application of oxygen is indicated.
  Describe an oropharyngeal airway, a CPR mask, a bag valve mask and demonstrate their uses.
  List four key pieces of equipment in
  an oxygen delivery system.
1
2
3

## Slide 17
THANK YOU